## CR(AC)12-60
Model | Specific parameters | Configuration strategy | Unit Price (RMB) FOB Shenzhen 1 year warranty
CR012EA / ACS16-A | 12kW, 300*1200*2000 | Standard configuration: Inverter compressor, R410A, EEV, EC fan, air guide grille, no heater, no humidifier, rope-type water leakage sensor, Low temperature kit, head pressure valve, plate condenser. | 41180
CR025EA / ACS50-A | 25kW, 300*1200*2000 |  | 65770
CR035EA-B / ACS60-A | 35kW, 300*1200*2000 |  | 74930
CR035EA / ACS80-A | 40kW, 600*1200*2000 |  | 82570
CR045EA / ACS86-A | 48kW, 600*1200*2000 |  | 97690
CR060EA / ACS99-A | 60kW, 600*1200*2000 |  | 113790
CR025EA / ACS42-MA | 25kW, 300*1200*2000 | Standard configuration: Inverter compressor, R410A, EEV, EC fan, heater, humidifier, belt water leakage sensor, Low temperature kit, head pressure valve, array condenser. | 67280
CR035EA-B / ACS62-MA | 35kW, 300*1200*2000 |  | 76970
CR035EA / ACS79-MA | 40kW, 600*1200*2000 |  | 84610
CR045EA / ACS86-MA | 48kW, 600*1200*2000 |  | 99915
CR060EA / ACS96-MA | 60kW, 600*1200*2000 |  | 116670
Heater 3kW | For CR012, CR025, CR035-B | Recommend to configure heater and humidifier for modular data center. Suitable for sealed hot or cold aisle temperature and humidity control. | 480
Heater 6kW | For CR035, CR045, CR060 |  | 720
Humidifier 1kg/h | For CR012 |  | 1600
Humidifier 2kg/h | For CR025~060 |  | 1850
TCP/IP Card |  | Default RS485 port with Modbus protocol, Optional configuration for multiple communication methods. | 1280
SNMP Card |  |  | 1280
Long distance kit |  | Configure when pipeline distance is more than 30 meters. | 1170
Pressure different switch (air filter) |  | Optional accessory | 265
Pressure different switch (indoor fan) |  | Optional accessory | 265
Remote temperature / himidity sensor |  | Optional accessory | 1070
Condensation water drainage pump |  | Optional accessory | 1380
Uninterruptable power supply to controller |  | Optional accessory | 1800
Dual power input (dual contactor) |  | Recommended configuration instead of ATS. | 1200