## CM（Constant compressor）
Model | Specific parameters | Configuration strategy | Unit Price (RMB) FOB Shenzhen 1 year warranty
CM025UA, CM025DA / ACS50-A |  | Standard configuration: Return air temperature: 24C, Outdoor temperature: -40C~+45C. Constant compressor, R410A, EEV, EC fan, no heater, no humidifier, point-type water leakage sensor, Low temperature kit, head pressure valve, plate condenser. | 53200
CM030UA, CM030DA / ACS50-A |  |  | 54400
CM035UA, CM035DA / ACS60-A |  |  | 62500
CM040UA, CM040DA / ACS72-A |  |  | 67800
CM045UA, CM045DA / ACS80-A |  |  | 73800
CM050UA, CM050DA / ACS86-A |  |  | 79200
CM042UA, CM042DA / 2*ACS32-A |  |  | 82500
CM052UA, CM052DA / 2*ACS42-A |  |  | 97500
CM060UA, CM060DA / 2*ACS50-A |  |  | 111300
CM070UA, CM070DA / 2*ACS60-A |  |  | 117200
CM080UA, CM080DA / 2*ACS72-A |  |  | 130800
CM090UA, CM090DA / 2*ACS80-A |  |  | 137000
CM100UA, CM100DA / 2*ACS86-A |  |  | 144800
CM110UA, CM110DA / 2*ACS99-A |  |  | 167800
CM120UA, CM120DA / 2*ACS106-A |  |  | 191200
CM025UA, CM025DA /ACS50-MA |  | Standard configuration: Return air temperature: 24C, Outdoor temperature: -40C~+45C. Constant compressor, R410A, EEV, EC fan, no heater, no humidifier, point-type water leakage sensor, Low temperature kit, head pressure valve, array condenser. | 53800
CM030UA, CM030DA /ACS50-MA |  |  | 55000
CM035UA, CM035DA / ACS62-MA |  |  | 63300
CM040UA, CM040DA / ACS79-MA |  |  | 70300
CM045UA, CM045DA / ACS86-MA |  |  | 76800
CM050UA, CM050DA / ACS86-MA |  |  | 80300
CM042UA, CM042DA / 2*ACS42-MA |  |  | 85700
CM052UA, CM052DA / 2*ACS42-MA |  |  | 99000
CM060UA, CM060DA / 2*ACS50-MA |  |  | 112500
CM070UA, CM070DA / 2*ACS62-MA |  |  | 120000
CM080UA, CM080DA / 2*ACS79-MA |  |  | 135800
CM090UA, CM090DA / 2*ACS86-MA |  |  | 142800
CM100UA, CM100DA / 2*ACS86-MA |  |  | 148800
CM110UA, CM110DA / 2*ACS125-MA |  |  | 182700
CM120UA, CM120DA / 2*ACS125-MA |  |  | 199900
Optional accessory
6kW heater | For 25~35kW |  | 1000
9kW heater | For 40~70kW |  | 1300
12kW heater | For 80~120kW |  | 1500
5kg/h humidifier | For 25~30kW |  | 6000
8kg/h humidifier | For 40~70kW |  | 6500
10kg/h humidifier | For 80~120kW |  | 7000
Air hood type 1: 400mm height | For 25~30kW | Only for up-flow type, Air hood for up-front flow. | 2200
Air hood type 2: 400mm height | For 35~50kW |  | 3000
Air hood type 3: 400mm height | For 42/52kW |  | 4000
Air hood type 4: 400mm height | For 60~100kW |  | 5000
Air hood type 5: 400mm height | For 110~120kW |  | 5500
Class C SPD (surge protective device) |  |  | 1000
Class D SPD (surge protective device) |  |  | 800
TCP/IP Card |  | Default RS485 port with Modbus protocol, Optional configuration for multiple communication methods. | 1200
SNMP Card |  |  | 1200
Long distance kit, single refrigerant circuit | For 25~50kW | Configure when pipeline distance is more than 30 meters. | 1500
Long distance kit, dual refrigerant circuit | For 42~120kW |  | 3000
Pressure different switch (air filter) |  | Optional accessory | 260
Pressure different switch (indoor fan) |  | Optional accessory | 260
Remote temperature / himidity sensor |  | Optional accessory | 900
Condensation water drainage pump |  | Optional accessory | 1500
Uninterruptable power supply to controller |  | Optional accessory | 1800
Dual power input (dual contactor) |  | Recommended configuration instead of ATS. | 1500

## CM (Inverter compressor)
Model | Specific parameters | Configuration strategy | Unit Price (RMB) FOB Shenzhen 1 year warranty
CM025UA, CM025DA / ACS50-A |  | Standard configuration: Return air temperature: 24C, Outdoor temperature: -40C~+45C. Inverter compressor, R410A, EEV, EC fan, no heater, no humidifier, point-type water leakage sensor, Low temperature kit, head pressure valve, plate condenser. | 67400
CM030UA, CM030DA / ACS50-A |  |  | 73200
CM035UA, CM035DA / ACS60-A |  |  | 77500
CM040UA, CM040DA / ACS72-A |  |  | 83000
CM045UA, CM045DA / ACS80-A |  |  | 92000
CM050UA, CM050DA / ACS86-A |  |  | 96000
CM042UA, CM042DA / 2*ACS32-A |  |  | 126800
CM052UA, CM052DA / 2*ACS42-A |  |  | 134000
CM060UA, CM060DA / 2*ACS50-A |  |  | 144000
CM070UA, CM070DA / 2*ACS60-A |  |  | 149700
CM080UA, CM080DA / 2*ACS72-A |  |  | 164600
CM090UA, CM090DA / 2*ACS80-A |  |  | 173500
CM100UA, CM100DA / 2*ACS86-A |  |  | 179400
CM110UA, CM110DA / 2*ACS99-A |  |  | 204800
CM120UA, CM120DA / 2*ACS106-A |  |  | 226000

## CM(Chilled water）
Model | Specific parameters | Configuration strategy | Unit Price (RMB) FOB Shenzhen 1 year warranty
CM031UC/CM031DC | 31KW | Chilled water air conditioner, EC direct-connected fan, cooling only, including air flow loss differential pressure switch, inlet water temperature sensor, supply air temperature sensor, return air temperature and humidity sensor | 30200 | https://iteaq.su/wp-content/uploads/2025/05/CM031UC_CM031DC.pdf
CM041UC /CM041DC | 41KW |  | 32000 | https://iteaq.su/wp-content/uploads/2025/05/CM041UC-_CM041DC-1.pdf
CM051UC / CM051DC | 51KW |  | 39000 | https://iteaq.su/wp-content/uploads/2025/05/CM051UC-_CM051DC.pdf
CM061UC / CM061DC | 61KW |  | 41500 | https://iteaq.su/wp-content/uploads/2025/05/CM061UC-_CM061DC.pdf
CM071UC /CM071DC | 71KW |  | 47500 | https://iteaq.su/wp-content/uploads/2025/05/CM071UC-_CM071DC-1.pdf
CM081UC / CM081DC | 81KW |  | 48500 | https://iteaq.su/wp-content/uploads/2025/05/CM081UC-_CM081DC-1.pdf
CM091UC / CM091DC | 91KW |  | 50300 | https://iteaq.su/wp-content/uploads/2025/05/CM091UC-_CM091DC-1.pdf
CM101UC / CM101DC | 101KW |  | 52000 | https://iteaq.su/wp-content/uploads/2025/05/CM101UC-_CM101DC-1.pdf
CM110UC /CM110DC | 110KW |  | 54800 | https://iteaq.su/wp-content/uploads/2025/05/CM110UC-_CM110DC-1.pdf
CM120UC / CM120DC | 120KW |  | 57500 | https://iteaq.su/wp-content/uploads/2025/05/CM120UC-_CM120DC-1.pdf
CM130UC/CM130DC | 130KW |  | 63800 | https://iteaq.su/wp-content/uploads/2025/05/CM130UC-_CM130DC-1.pdf
CM140UCA / CM140DC | 140KW |  | 66300 | https://iteaq.su/wp-content/uploads/2025/05/CM140UC-_CM140DC.pdf
CM150UC / CM150DC | 150KW |  | 73000 | https://iteaq.su/wp-content/uploads/2025/05/CM150UC-_CM150DC.pdf
CM160UC /CM160DC | 160KW |  | 74800 | https://iteaq.su/wp-content/uploads/2025/05/CM160UC-_CM160DC.pdf
CM170UC/CM170DC | 170KW |  | 77500 | https://iteaq.su/wp-content/uploads/2025/05/CM170UC-_CM170DC.pdf
CM180UC /CM180DC | 180KW |  | 79200 | https://iteaq.su/wp-content/uploads/2025/05/CM180UC-_CM180DC.pdf
CM190UC /CM190DC | 190KW |  | 89500 | https://iteaq.su/wp-content/uploads/2025/05/CM190UC-_CM190DC.pdf
CM200UC /CM200DC | 200KW |  | 95000 | https://iteaq.su/wp-content/uploads/2025/05/CM200UC-_CM200DC.pdf
Optional accessory
heater | For CM031~CM200 |  | 3300
humidifier | For CM031~CM200 |  | 2500
Air hood type 1: 400mm height | For CM031～061UC |  | 2500
Air hood type 2: 400mm height | For CM071～120UC |  | 4500
Air hood type 3: 400mm height | For CM130～150UC |  | 6000
Air hood type 4: 400mm height | For CM160～200UC |  | 6500
Water temperature sensor | (applicable to water inlet or outlet) temperature detection component |  | 700
Point Leak Detector |  |  | 500
Wind static pressure sensor |  |  | 6000